


For: Heads of all Establishments/Settings Governors/Management Committees Trade Union Safety Representatives Intranet

**Fire Hazard - Sheds**

**SAFETY ACTION BULLETIN**

Issue SAB 4

June 2007

A primary school has suffered an arson attack where vandals gained access to a wooden storage shed sited next to the main school building and set fire to it. The outcome was a serious fire and the fire and rescue service have issued the following guidance as a result.

• Wooden sheds must be sited at least 6 metres away from the buildings – if necessary they must be moved away from school buildings.

• Careful consideration must be given to what is stored in the shed – especially any chemicals or flammable materials.

Moving sheds away from buildings also reduces the risk of trespassers and vandals gaining access to roof areas.

**What do you need to do?**

• Move any wooden storage sheds to a position at least 6 metres away from school buildings.

• Consider security of the shed in tandem with the Fire Risk Assessment.

**Further information:**

If you need guidance on where to site your shed, bearing in mind access for emergency vehicles etc., contact the Health and Safety Team in the first instance.

Health and Safety Team [healthandsafetyhelp@oxfordshire.gov.uk](mailto:healthandsafetyhelp@oxfordshire.gov.uk)

03300 240849

© Oxfordshire County Council Page 1/1